## Slide 1: Helical Resonator
November 29 2017
Li He

## Slide 2: Outline
Why we need a resonator
What is helical resonator
How to make a helical resonator

## Slide 3: Why

## Slide 4: High Voltage and no noise
Pseudopotential：
Secular motion frequency：
Paul Trap, use RF field to trap ions
Need RF with High voltage and narrow band width
1. Deep trap depth- strong trap strenth
2. Big secular motional frequency- fast gate
Low noise-low heating rate
Amplifier has big noise, so cannot be uesed

## Slide 5: what

## Slide 6: Helical Resonator
RF source

## Slide 7: Circuit-impedance matching to source
source
Antenna
Resonator
trap
The impedance of source is 50Ohm
For getting minimum reflection power
The load impedance should be 50OHm
N : how many circle
T: pitch distance
A: section
We can modulate the parameter of antenna
To match 50 Ohm impendance

## Slide 8: Circuit
Source+
antenna
Resonator
Trap

## Slide 9: Serial RLC circuit-Resonat frequency
Impedance:
For
The circuit has minimum impedance then maximum current
So it’s the resonant frequency of the circuit
The resonator situation need the circuit is resistive

## Slide 10: Q factor
Energy stored in either inductor or capacitor
Energy dissipated on resistance
so
With

## Slide 11: Real case
The C L R is the combination of
A lot of C L R

## Slide 12: Amplifier effect
The source voltage is low
When resonance The voltage on The inductor
Equals to The one on Trap capacitor
(The resistance is very low )

## Slide 13: How

## Slide 14: From Q factor
Indicated by The Q we need
Low R
High Ratio of L/C

## Slide 15: 具体计算方法
通过经验公式可以计算出不同尺寸结构的resonator的R L C
可以通过所需要的共振频率，像最大Q值以及合理制作方案，去优化结构参数